## Priority Scores
Priority_Rank | Technique ID | Technique Name | Priority_Score_Normalized | Priority_Score_Raw | C2_Threat_Score | Number of Software Using Technique | Number of Campaigns Using Technique | Number of Groups Using Technique
1 | T0859 | Valid Accounts | 1 | 0.029024 | 3.5835 | 2 | 3 | 2
1 | T0853 | Scripting | 1 | 0.029024 | 3.5835 | 2 | 3 | 2
3 | T0807 | Command-Line Interface | 0.96713 | 0.02807 | 3.4657 | 3 | 3 | 1
3 | T0828 | Loss of Productivity and Revenue | 0.96713 | 0.02807 | 3.4657 | 7 | 3 | 0
5 | T0867 | Lateral Tool Transfer | 0.88685 | 0.02574 | 3.1781 | 5 | 3 | 0
6 | T0855 | Unauthorized Command Message | 0.83598 | 0.024263 | 2.9957 | 3 | 4 | 0
7 | T0886 | Remote Services | 0.77371 | 0.022456 | 2.7726 | 3 | 3 | 0
8 | T0829 | Loss of View | 0.7557 | 0.021933 | 2.7081 | 4 | 2 | 0
8 | T0836 | Modify Parameter | 0.7557 | 0.021933 | 2.7081 | 4 | 2 | 0
8 | T0865 | Spearphishing Attachment | 0.7557 | 0.021933 | 2.7081 | 2 | 0 | 4
8 | T0814 | Denial of Service | 0.7557 | 0.021933 | 2.7081 | 4 | 2 | 0
12 | T0869 | Standard Application Layer Protocol | 0.73644 | 0.021374 | 2.6391 | 6 | 0 | 1
13 | T0884 | Connection Proxy | 0.69343 | 0.020126 | 2.4849 | 2 | 1 | 1
13 | T0846 | Remote System Discovery | 0.69343 | 0.020126 | 2.4849 | 5 | 1 | 0
15 | T0843 | Program Download | 0.64255 | 0.018649 | 2.3026 | 4 | 1 | 0
15 | T0817 | Drive-by Compromise | 0.64255 | 0.018649 | 2.3026 | 1 | 0 | 4
15 | T0849 | Masquerading | 0.64255 | 0.018649 | 2.3026 | 4 | 1 | 0
18 | T0885 | Commonly Used Port | 0.58028 | 0.016842 | 2.0794 | 3 | 1 | 0
18 | T0826 | Loss of Availability | 0.58028 | 0.016842 | 2.0794 | 1 | 3 | 0
20 | T0831 | Manipulation of Control | 0.5 | 0.014512 | 1.7918 | 2 | 1 | 0
20 | T0862 | Supply Chain Compromise | 0.5 | 0.014512 | 1.7918 | 1 | 0 | 2
20 | T0827 | Loss of Control | 0.5 | 0.014512 | 1.7918 | 2 | 1 | 0
20 | T0822 | External Remote Services | 0.5 | 0.014512 | 1.7918 | 1 | 2 | 0
20 | T0813 | Denial of Control | 0.5 | 0.014512 | 1.7918 | 1 | 2 | 0
20 | T0881 | Service Stop | 0.5 | 0.014512 | 1.7918 | 5 | 0 | 0
20 | T0872 | Indicator Removal on Host | 0.5 | 0.014512 | 1.7918 | 2 | 1 | 0
20 | T0857 | System Firmware | 0.5 | 0.014512 | 1.7918 | 1 | 2 | 0
20 | T0888 | Remote System Information Discovery | 0.5 | 0.014512 | 1.7918 | 5 | 0 | 0
29 | T0801 | Monitor Process State | 0.44912 | 0.013035 | 1.6094 | 4 | 0 | 0
29 | T0809 | Data Destruction | 0.44912 | 0.013035 | 1.6094 | 4 | 0 | 0
29 | T0866 | Exploitation of Remote Services | 0.44912 | 0.013035 | 1.6094 | 4 | 0 | 0
29 | T0863 | User Execution | 0.44912 | 0.013035 | 1.6094 | 4 | 0 | 0
29 | T0882 | Theft of Operational Information | 0.44912 | 0.013035 | 1.6094 | 4 | 0 | 0
34 | T0821 | Modify Controller Tasking | 0.38685 | 0.011228 | 1.3863 | 3 | 0 | 0
34 | T0816 | Device Restart/Shutdown | 0.38685 | 0.011228 | 1.3863 | 1 | 1 | 0
34 | T0805 | Block Serial COM | 0.38685 | 0.011228 | 1.3863 | 1 | 1 | 0
34 | T0842 | Network Sniffing | 0.38685 | 0.011228 | 1.3863 | 3 | 0 | 0
34 | T0806 | Brute Force I/O | 0.38685 | 0.011228 | 1.3863 | 3 | 0 | 0
34 | T0858 | Change Operating Mode | 0.38685 | 0.011228 | 1.3863 | 3 | 0 | 0
34 | T0802 | Automated Collection | 0.38685 | 0.011228 | 1.3863 | 3 | 0 | 0
34 | T0893 | Data from Local System | 0.38685 | 0.011228 | 1.3863 | 3 | 0 | 0
34 | T0883 | Internet Accessible Device | 0.38685 | 0.011228 | 1.3863 | 1 | 1 | 0
34 | T0804 | Block Reporting Message | 0.38685 | 0.011228 | 1.3863 | 1 | 1 | 0
34 | T0830 | Adversary-in-the-Middle | 0.38685 | 0.011228 | 1.3863 | 1 | 1 | 0
34 | T0834 | Native API | 0.38685 | 0.011228 | 1.3863 | 3 | 0 | 0
34 | T0815 | Denial of View | 0.38685 | 0.011228 | 1.3863 | 1 | 1 | 0
34 | T0803 | Block Command Message | 0.38685 | 0.011228 | 1.3863 | 1 | 1 | 0
48 | T0840 | Network Connection Enumeration | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0835 | Manipulate I/O Image | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0874 | Hooking | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0861 | Point & Tag Identification | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0852 | Screen Capture | 0.30657 | 0.008898 | 1.0986 | 0 | 0 | 2
48 | T0845 | Program Upload | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0889 | Modify Program | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0890 | Exploitation for Privilege Escalation | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0891 | Hardcoded Credentials | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0832 | Manipulation of View | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
48 | T0847 | Replication Through Removable Media | 0.30657 | 0.008898 | 1.0986 | 2 | 0 | 0
59 | T0837 | Loss of Protection | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0823 | Graphical User Interface | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0812 | Default Credentials | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0820 | Exploitation for Evasion | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0819 | Exploit Public-Facing Application | 0.19343 | 0.005614 | 0.69315 | 0 | 0 | 1
59 | T0811 | Data from Information Repositories | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0895 | Autorun Image | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0873 | Project File Infection | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0868 | Detect Operating Mode | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0871 | Execution through API | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0860 | Wireless Compromise | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0848 | Rogue Master | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0856 | Spoof Reporting Message | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0864 | Transient Cyber Asset | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0851 | Rootkit | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0838 | Modify Alarm Settings | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0800 | Activate Firmware Update Mode | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0879 | Damage to Property | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0877 | I/O Image | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
59 | T0878 | Alarm Suppression | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0894 | System Binary Proxy Execution | 0.19343 | 0.005614 | 0.69315 | 0 | 1 | 0
59 | T0880 | Loss of Safety | 0.19343 | 0.005614 | 0.69315 | 1 | 0 | 0
81 | T0839 | Module Firmware | 0 | 0 | 0 | 0 | 0 | 0
81 | T0887 | Wireless Sniffing | 0 | 0 | 0 | 0 | 0 | 0
81 | T0892 | Change Credential | 0 | 0 | 0 | 0 | 0 | 0

## Top 20 Techniques
Priority_Rank | Technique ID | Technique Name | Priority_Score_Normalized | Priority_Score_Raw | C2_Threat_Score | Number of Software Using Technique | Number of Campaigns Using Technique | Number of Groups Using Technique
1 | T0859 | Valid Accounts | 1 | 0.029024 | 3.5835 | 2 | 3 | 2
1 | T0853 | Scripting | 1 | 0.029024 | 3.5835 | 2 | 3 | 2
3 | T0807 | Command-Line Interface | 0.96713 | 0.02807 | 3.4657 | 3 | 3 | 1
3 | T0828 | Loss of Productivity and Revenue | 0.96713 | 0.02807 | 3.4657 | 7 | 3 | 0
5 | T0867 | Lateral Tool Transfer | 0.88685 | 0.02574 | 3.1781 | 5 | 3 | 0
6 | T0855 | Unauthorized Command Message | 0.83598 | 0.024263 | 2.9957 | 3 | 4 | 0
7 | T0886 | Remote Services | 0.77371 | 0.022456 | 2.7726 | 3 | 3 | 0
8 | T0829 | Loss of View | 0.7557 | 0.021933 | 2.7081 | 4 | 2 | 0
8 | T0836 | Modify Parameter | 0.7557 | 0.021933 | 2.7081 | 4 | 2 | 0
8 | T0865 | Spearphishing Attachment | 0.7557 | 0.021933 | 2.7081 | 2 | 0 | 4
8 | T0814 | Denial of Service | 0.7557 | 0.021933 | 2.7081 | 4 | 2 | 0
12 | T0869 | Standard Application Layer Protocol | 0.73644 | 0.021374 | 2.6391 | 6 | 0 | 1
13 | T0884 | Connection Proxy | 0.69343 | 0.020126 | 2.4849 | 2 | 1 | 1
13 | T0846 | Remote System Discovery | 0.69343 | 0.020126 | 2.4849 | 5 | 1 | 0
15 | T0843 | Program Download | 0.64255 | 0.018649 | 2.3026 | 4 | 1 | 0
15 | T0817 | Drive-by Compromise | 0.64255 | 0.018649 | 2.3026 | 1 | 0 | 4
15 | T0849 | Masquerading | 0.64255 | 0.018649 | 2.3026 | 4 | 1 | 0
18 | T0885 | Commonly Used Port | 0.58028 | 0.016842 | 2.0794 | 3 | 1 | 0
18 | T0826 | Loss of Availability | 0.58028 | 0.016842 | 2.0794 | 1 | 3 | 0
20 | T0831 | Manipulation of Control | 0.5 | 0.014512 | 1.7918 | 2 | 1 | 0

## Methodology
Criterion | Formula | Weight (EWM) | Interpretation
C2: Threat Score | ln(Groups + 1) + ln(Campaigns + 1) + ln(Software + 1) | 1 | Higher score = More threat actors/campaigns/software using the technique = Higher threat

## Summary
Metric | Value
Total Techniques Analyzed | 83
Average Priority Score | 0.4151
Highest Priority Score | 1.0000
Lowest Priority Score | 0.0000
Techniques with Score > 0.8 | 6
Techniques with Score > 0.6 | 17
Techniques with Score < 0.2 | 25