## Technique Statistics
Technique Name | Technique ID | Number of Targeted Assets | Number of Software Using Technique | Number of Campaigns Using Technique | Number of Groups Using Technique | Number of Mitigations | Number of Data Components (Detection)
Activate Firmware Update Mode | T0800 | 9 | 1 | 0 | 0 | 8 | 3
Monitor Process State | T0801 | 11 | 4 | 0 | 0 | 1 | 2
Automated Collection | T0802 | 5 | 3 | 0 | 0 | 2 | 4
Block Command Message | T0803 | 9 | 1 | 1 | 0 | 3 | 5
Block Reporting Message | T0804 | 10 | 1 | 1 | 0 | 3 | 5
Block Serial COM | T0805 | 13 | 1 | 1 | 0 | 3 | 5
Brute Force I/O | T0806 | 8 | 3 | 0 | 0 | 4 | 3
Command-Line Interface | T0807 | 9 | 3 | 3 | 1 | 2 | 3
Data Destruction | T0809 | 18 | 4 | 0 | 0 | 3 | 4
Data from Information Repositories | T0811 | 2 | 1 | 0 | 0 | 6 | 3
Default Credentials | T0812 | 18 | 0 | 1 | 0 | 2 | 2
Denial of Control | T0813 | 0 | 1 | 2 | 0 | 3 | 0
Denial of Service | T0814 | 14 | 4 | 2 | 0 | 1 | 4
Denial of View | T0815 | 0 | 1 | 1 | 0 | 3 | 0
Device Restart/Shutdown | T0816 | 18 | 1 | 1 | 0 | 9 | 4
Drive-by Compromise | T0817 | 1 | 1 | 0 | 4 | 4 | 5
Exploit Public-Facing Application | T0819 | 4 | 0 | 0 | 1 | 6 | 2
Exploitation for Evasion | T0820 | 16 | 1 | 0 | 0 | 4 | 1
Modify Controller Tasking | T0821 | 4 | 3 | 0 | 0 | 4 | 3
External Remote Services | T0822 | 9 | 1 | 2 | 0 | 7 | 3
Graphical User Interface | T0823 | 9 | 0 | 1 | 0 | 1 | 4
Loss of Availability | T0826 | 0 | 1 | 3 | 0 | 3 | 0
Loss of Control | T0827 | 0 | 2 | 1 | 0 | 3 | 0
Loss of Productivity and Revenue | T0828 | 0 | 7 | 3 | 0 | 1 | 0
Loss of View | T0829 | 0 | 4 | 2 | 0 | 3 | 0
Adversary-in-the-Middle | T0830 | 18 | 1 | 1 | 0 | 8 | 6
Manipulation of Control | T0831 | 0 | 2 | 1 | 0 | 3 | 0
Manipulation of View | T0832 | 0 | 2 | 0 | 0 | 3 | 0
Native API | T0834 | 17 | 3 | 0 | 0 | 1 | 1
Manipulate I/O Image | T0835 | 4 | 2 | 0 | 0 | 1 | 1
Modify Parameter | T0836 | 5 | 4 | 2 | 0 | 4 | 4
Loss of Protection | T0837 | 0 | 1 | 0 | 0 | 0 | 0
Modify Alarm Settings | T0838 | 8 | 0 | 1 | 0 | 7 | 4
Module Firmware | T0839 | 4 | 0 | 0 | 0 | 12 | 4
Network Connection Enumeration | T0840 | 16 | 2 | 0 | 0 | 1 | 4
Network Sniffing | T0842 | 16 | 3 | 0 | 0 | 5 | 2
Program Download | T0843 | 4 | 4 | 1 | 0 | 10 | 4
Program Upload | T0845 | 4 | 2 | 0 | 0 | 8 | 3
Remote System Discovery | T0846 | 16 | 5 | 1 | 0 | 1 | 4
Replication Through Removable Media | T0847 | 15 | 2 | 0 | 0 | 3 | 4
Rogue Master | T0848 | 10 | 0 | 1 | 0 | 5 | 5
Masquerading | T0849 | 7 | 4 | 1 | 0 | 3 | 8
Rootkit | T0851 | 16 | 1 | 0 | 0 | 2 | 1
Screen Capture | T0852 | 3 | 0 | 0 | 2 | 1 | 2
Scripting | T0853 | 9 | 2 | 3 | 2 | 3 | 5
Unauthorized Command Message | T0855 | 8 | 3 | 4 | 0 | 6 | 5
Spoof Reporting Message | T0856 | 9 | 0 | 1 | 0 | 5 | 4
System Firmware | T0857 | 10 | 1 | 2 | 0 | 13 | 4
Change Operating Mode | T0858 | 4 | 3 | 0 | 0 | 7 | 3
Valid Accounts | T0859 | 17 | 2 | 3 | 2 | 10 | 3
Wireless Compromise | T0860 | 2 | 0 | 1 | 0 | 4 | 3
Point & Tag Identification | T0861 | 10 | 2 | 0 | 0 | 8 | 2
Supply Chain Compromise | T0862 | 17 | 1 | 0 | 2 | 5 | 1
User Execution | T0863 | 3 | 4 | 0 | 0 | 6 | 6
Transient Cyber Asset | T0864 | 1 | 0 | 1 | 0 | 5 | 2
Spearphishing Attachment | T0865 | 2 | 2 | 0 | 4 | 4 | 4
Exploitation of Remote Services | T0866 | 17 | 4 | 0 | 0 | 8 | 2
Lateral Tool Transfer | T0867 | 6 | 5 | 3 | 0 | 1 | 7
Detect Operating Mode | T0868 | 4 | 1 | 0 | 0 | 8 | 1
Standard Application Layer Protocol | T0869 | 16 | 6 | 0 | 1 | 3 | 2
Execution through API | T0871 | 12 | 1 | 0 | 0 | 4 | 1
Indicator Removal on Host | T0872 | 16 | 2 | 1 | 0 | 1 | 8
Project File Infection | T0873 | 1 | 1 | 0 | 0 | 4 | 1
Hooking | T0874 | 17 | 2 | 0 | 0 | 2 | 2
I/O Image | T0877 | 4 | 1 | 0 | 0 | 1 | 1
Alarm Suppression | T0878 | 10 | 0 | 1 | 0 | 4 | 4
Damage to Property | T0879 | 0 | 0 | 1 | 0 | 3 | 0
Loss of Safety | T0880 | 0 | 1 | 0 | 0 | 2 | 0
Service Stop | T0881 | 13 | 5 | 0 | 0 | 4 | 7
Theft of Operational Information | T0882 | 0 | 4 | 0 | 0 | 4 | 0
Internet Accessible Device | T0883 | 5 | 1 | 1 | 0 | 1 | 3
Connection Proxy | T0884 | 18 | 2 | 1 | 1 | 4 | 2
Commonly Used Port | T0885 | 18 | 3 | 1 | 0 | 4 | 2
Remote Services | T0886 | 9 | 3 | 3 | 0 | 9 | 7
Wireless Sniffing | T0887 | 2 | 0 | 0 | 0 | 2 | 1
Remote System Information Discovery | T0888 | 17 | 5 | 0 | 0 | 1 | 4
Modify Program | T0889 | 4 | 2 | 0 | 0 | 4 | 4
Exploitation for Privilege Escalation | T0890 | 16 | 2 | 0 | 0 | 4 | 1
Hardcoded Credentials | T0891 | 1 | 2 | 0 | 0 | 1 | 2
Change Credential | T0892 | 17 | 0 | 0 | 0 | 3 | 2
Data from Local System | T0893 | 8 | 3 | 0 | 0 | 4 | 5
System Binary Proxy Execution | T0894 | 6 | 0 | 1 | 0 | 1 | 3
Autorun Image | T0895 | 6 | 0 | 1 | 0 | 1 | 0

## Summary
Metric | Count
Total Techniques | 83
Total Assets Targeted | 685
Total Software | 163
Total Campaigns | 63
Total Groups | 20
Total Mitigations | 331
Total Data Components | 236